## Sheet1
Scaffold Pre-use Inspection Form
This form must be completed for all scaffolds used on University property.
IMPORTANT: Scaffolds MUST receive a RED tag if any item fails inspection.
Project:
Location:
Type of work:
Has this work location been examined before the start of work operations and have all the appropriate precautions been taken?
e.g. checking for: overhead objects, falling or tripping hazards, uneven ground, opening onto a door.
Will fall protection be required when using this scaffold?
Has the scaffold been setup according to manufacturer’s instructions?
General Rules | Pass | Fail | N/A
Scaffold components can support at least four times their maximum intended load.
Scaffold is fully planked- No more than 1” gap between planks.
Platform is at least 18 inches wide (12 inches on pump jacks).
Guardrails are used or personal fall arrest system is used, if work height is >6 feet.
Guardrail system: | Pass | Fail | N/A
Toprail
Midrail
Toeboard
Posts
Scaffold is 8” or less from face of work
Planks do not extend past the ends of the scaffold frames more than 12 inches.
Casters are locked before work begins
Work platform free of clutter, mud, snow, oil or any tripping hazard.
Minimum power line clearance (10 feet)
If the scaffold is defective, has it been removed from service and tagged out?
Supported Scaffolds: | Pass | Fail | N/A
Height to base width ratio is: Less than 4:1 (no guying, ties, or braces required)
Over 4:1 scaffolds are restrained from tipping by guying, tying, or bracing.
All scaffold frames and uprights use base plates (mud sills required if on dirt)
Footings are level, sound, and rigid. No settling has occurred.
Unstable objects such as blocks, bricks, buckets, etc. are not used as work platforms or to support scaffolds.
Are riggers secured and installed correctly?
Rules for Access: | Pass | Fail | N/A
No more than 2’ step up or down or a 14” step across to get on or off a platform
Ladder first rung is not more than 24” above the ground.
Hook-on and attachable ladders are designed for the scaffold.
Add-on ladders must have a rung length of at least 11 ½”
Built in ladders (part of the scaffold frames) must have a rung length of at least 8”.
Rungs line-up vertically for the entire height of the scaffold.
Cross braces are not used for climbing up or down from the scaffold.
Inspected By: | Date: